## Armaturliste
| Revidert Armaturliste Tempeparken | [18 empty] | Rev. F | 2024-03-07 | [5 empty] | BESTILT |  |  | BESTILT
[27 empty] | UAVKLART |  |  | AVVENTES
[11 empty] | Plassering | [7 empty] | total antall meter/stk | Effekt i watt
[11 empty] | Snarvei | Forlengelse gangvei | A-Frame | Sirkel benk I | Sirkel benk II | Multistolpe | Øy | Skilt
| Type | UL-nr. | Produkt | Navn | Varenr | Link til produkt | Beskrivelse | Kelvin | Effekt i W | Driver | [10 empty] | Listepris | Rabatt | Nettopris | Total | Monteringspris pr enhet | Sum montering | Kommentar | Leverandør | Leveringstid | Kommentar AM 28.03.20
| Copenhagen | UL01 | #VALUE! | Copenhagen | BRS761 LED20/730 MDM DF 6012 CLO-DDF2 | https://www.lighting.philips.no/prof/utendors-belysning/urban/copenhagen-city-led-gen2-liten/LP_CF_BDS761_EU/family?filters=&pagesize=8&page=1 | Stolpearmatur Copenhagen med Zhaga på underside – Inkl. CLO, nattsenking og påmontert kabel | 3000 | 13 | Dali | 3 | 3 | [6 empty] | 6 | 78 | [5 empty] | 0 |  | Signify
|  |  |  | Stolpe 5m |  |  | RIT-mast 5m komplett med sikring og tilkoblingsklemmer |  |  |  | 3 | 3 | [6 empty] | 6 | 0 | [5 empty] | 0 |  | Signify
|  |  |  | Fundament |  |  | Stålfundament 160mm boltfirkant |  |  |  | 3 | 3 | [6 empty] | 6 | 0 | [5 empty] | 0 |  | Signify
| Multistolpe | UL02 | #VALUE! | Lampehode | 84118K3 | https://www.bega.com/nb-no/search/?query=84931&product=84931K3&tab=info | Armatur for generell belysning med zoomoptikk | 3000 | 40 | [6 empty] | 15 |  |  | 15 | 600 | [5 empty] | 0 | Bega innfesting med kabelgjennomføring i nippel | Bega (AKB)
|  |  | Multistolpe | Multistolpe | 3034609D |  | 9m kon stolpe for 5 lampehoder | [8 empty] | 3 |  |  | 3 | 0 | [5 empty] | 0 |  | Bega (AKB)
|  |  |  | fundament | 3520240C |  | stålfundament for multistolpe | [8 empty] | 3 |  |  | 3 | 0 | [5 empty] | 0 |  | Bega (AKB)
| Linse |  |  | Eliptisk linse | [11 empty] | 4 |  |  |  | 0
| Avskjerming |  |  |  | 71281 | en (bega.com) | Avskjerming til bega spot | [8 empty] | 15 |  |  | 15 | 0 | [7 empty] | Bega (AKB)
| A-frame | UL03 | #VALUE! | Takpunkt under A frame | E883L5 | https://www.iguzzini.com/e883/ | Laser Blade InOut - Ceiling-mounted Laser Blade InOut, Flood optic | 2700 | 5.7 |  |  |  | 15 | [5 empty] | 15 | 85.5 | [5 empty] | 0 |  | iGuzzini
Lys i oppkant øy | Neonflex | LS04 | #VALUE! | Led Neon rgbW | 122635 | https://www.nortronic.no/clear-lighting%c2%a9/122635/led-neon-s-f2222e-hb-15w-24v-rgbw-2700k-flexglo | F22 Led Neon RGB-W 2700K HB IP68 | RGB-W | 15 | [7 empty] | 12 |  | 12 | 180 | [5 empty] | 0 |  | Nortronic AS mette@nortronic.no
Lys under benker | Neonflex | LS05 |  | Led neon 2700K | 116667 | https://www.nortronic.no/clear-lighting%c2%a9/116667/led-neon-s-f23-hb-4-5w-24v-2700k-210lm-m-flexglo | Neon flex HB F23 2700 | 2700 | 4.5 |  |  |  |  | 26 | 6 |  |  |  | 32 | 144 | [7 empty] | Nortronic AS mette@nortronic.no
| Driver |  | #VALUE! | Driver | 6604372 | https://www.nortronic.no/mean-well/hlg-480h-24/led-driver-24v-480w-ip67 | Driver for F22 RGBW | [9 empty] | 1 |  | 1 | 0 | [5 empty] | 0 |  | Nortronic AS mette@nortronic.no
| Dimmer |  | #VALUE! |  | 1035 | https://www.nortronic.no/aimotion/1035/led-dimmer-12-24v-casambi-4x5a-1-4-kanal-tw-rgb-rgbw-pwm | Dimmer for rgbW Casambi | [9 empty] | 1 |  | 1 | 0 | [5 empty] | 0 |  | Nortronic AS mette@nortronic.no
| Aluprofil |  | #VALUE! | Profil bøyelig | 200485 | https://www.nortronic.no/clear-lighting%c2%a9/f22-bsa-slash-pl-1000mm-al/b%c3%b8yelig-serrate-alu-profil-f22-1m-nb-kun-horisontal-b%c3%b8y | Serrate alu profil for Neonflex F22 1m | [5 empty] | 0 |  |  |  | 13 |  | 13 | 0 | [5 empty] | 0 |  | Nortronic AS mette@nortronic.no
| Aluprofil |  | #VALUE! | Profil bøyelig | 200487 | https://www.nortronic.no/clear-lighting%c2%a9/f23-bsa-slash-pl-1000mm-al/b%c3%b8yelig-serrate-alu-profil-f23-1m-nb-kun-horisontal-b%c3%b8y | Serrate alu profil for Neonflex F23 1m | [6 empty] | 3 |  |  |  |  | 3 | 0 | [7 empty] | Nortronic AS mette@nortronic.no
| Aluprofil |  |  | Profil rett | 2004823 | https://www.nortronic.no/clear-lighting%c2%a9/f23-sa-slash-pl-2000mm-al/serrate-profil-f23-2m | Serrate rett alu profil for Neonflex F23 2m | [7 empty] | 3 |  |  |  | 3 | 0 | [7 empty] | Nortronic AS mette@nortronic.no
| Gobolyskaster (opsjon) | UL06 | #VALUE! | Mosaico 250 |  | https://prostage.no/prolights/mosaico-ml/prolights-mosaico-led-gobo-projector-ip66-250w-white-led-10-45 | Gobolyskaster med 8 goboer motorisert, fargeskift |  | 250 | intern | [5 empty] | 1 |  |  | 1 | 250 | [5 empty] | 0 |  | Prostage
| Baklys skilt | LS07 |  | ELC ledstrip | 120286 | LEDstrip ELC 930 Pro 24V 16W 2400lm 5m IP65 - Nortronic AS | LEDstrip ELC 5m IP65 3000K | 3000 | 16 | [8 empty] | 2 | 2 | 32 | [6 empty] | Antall i rull på 5m | Nortronic AS mette@nortronic.no
| Aluprofil | LS07 |  | Profil rett | 3205840 | Standard aluprofil høy 2m 1920 18,4x19,7mm - Nortronic AS | Standard aluprofil høy 2m 1920 | [10 empty] | 4 | 4 | 0 | [6 empty] | Tilpasses
| Avdekning | LS07 |  | Avdekning | 3204107 | BARdolino Avdekning opal 2m 500kg - Nortronic AS | Avdekning opal 2m | [10 empty] | 4 | 4 | 0 | [6 empty] | Tilpasses
| Portal | UL08 |  | Opp under portal | BX57 | The Laser Blade InOut recessed Light - iGuzzini | Laser Blade InOut - Innfelt i underkant skilt | 2700 | 4 |  |  |  | 2 | [5 empty] | 2 | 8 | [7 empty] | iGuzzini
[21 empty] | W |  | Sum lysutsyr | 0 | Sum Montering | 0
W
[23 empty] | Rundsum Styring | 20000
[23 empty] | Totalsum estimat kr. | 20000 | eks.mva